## Detailed Estimate
| Client details | Hidden |  |  |  |  | NEW MULTI-FAMILY RESIDENTIAL BUILDING
116 STORMS AVENUE, LOTS: 32.01
SUBMISSION: 3/18/2020
SR # | DRAWING# | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  | DIV. 01 | GENERAL CONDITIONS
1 |  |  | PERMITS, SITE SUPERVISION, FINAL CLEANUP & DUMPSTER ETC. | 1 | 0% | 1 | LS
|  | DIV. 02 | EXISTING CONDITIONS | [6 empty] | 0
SITE DEMOLITION
2 | C-110 |  | REMOVE EXISTING LIGHT POLE | 2 | 0% | 2 | EA
3 |  |  | REMOVE EXISTING FENCE | 419.8 | 0% | 419.8 | LF
4 |  |  | REMOVE EXISTING PAVED AREA | 6749.15 | 0% | 6749.15 | SF
5 | C-150 |  | REMOVE EXISTING 6" TOPSOIL W/ RAKE AND REMOVE ALL ORGANIC, METALLIC AND STONE DEBRIS LARGER THAN 2". | 943.59 | 0% | 943.59 | SF
|  | DIV. 03 | CONCRETE | [6 empty] | 0
WALLS
6 | A100, A320 |  | 138'-0"L x 12" THK. x 9'-6"H CONCRETE RETAINING WALL | 48.5556 | 10% | 53.4111 | CY
FOOTINGS
| S1.00 |  | CONTINUOUS
7 |  |  | CF-1: 293'-0"L x 2'-0"W x 1'-6"H CONCRETE FOOTING W/3#6 LONGITUDINAL BARS & #6 TRANSVERSE BARS @12" O.C. | 32.5556 | 10% | 35.8111 | CY
MATT
8 |  |  | MF-1: 26'-2"L x 29'-5"W x 2'-6"H MATT FOOTING W/#6 @9" O.C E/W TOP & BOTTOM BARS | 71.289 | 10% | 78.4179 | CY
9 |  |  | MF-2: 23'-3"L x 17'-9"W x 1'-6"H MATT FOOTING W/#6 @9" O.C E/W TOP & BOTTOM BARS | 22.9271 | 10% | 25.2198 | CY
10 |  |  | MF-3: 10'-0"L x 13'-1"W x 1'-6"H MATT FOOTING W/#6 @9" O.C E/W TOP & BOTTOM BARS | 7.2667 | 10% | 7.9933 | CY
SPREAD
11 |  |  | SF-1: 6'-0"L x 6'-0"W x 1'-6"H CONCRETE FOOTING W/#6 @12" O.C E/W | 18 | 10% | 19.8 | CY
12 |  |  | SF-2: 7'-0"L x 7'-0"W x 1'-6"H CONCRETE FOOTING W/#6 @12" O.C E/W | 19.0556 | 10% | 20.9611 | CY
13 |  |  | SF-3: 8'-0"L x 8'-0"W x 1'-6"H CONCRETE FOOTING W/#6 @10" O.C E/W | 7.1111 | 10% | 7.8222 | CY
COLUMNS
14 | S1.00 |  | P1: 2'-0" x 2'-0" CONCRETE COLUMN NO. OF COLUMNS @9'-6" HT: 12 NO. OF COLUMNS @12'-2" HT: 3 NOTE: SPECS ARE NOT DEFINED | 22.2978 | 10% | 24.5276 | CY
15 |  |  | P2: 1'-4" x 1'-4" CONCRETE COLUMN NO. OF COLUMNS @9'-6" HT: 3 NO. OF COLUMNS @12'-2" HT: 3 NOTE: SPECS ARE NOT DEFINED | 4.2591 | 10% | 4.685 | CY
SLAB
16 | S1.00-S1.10 |  | 4" CONCRETE SLAB W/6 x 6 W2.1 x 2.1 | 913 | 10% | 1004.3 | SF
17 |  |  | 4" CONCRETE SLAB | 663 | 10% | 729.3 | SF
18 |  |  | 6" BROOM FINISH CONCRETE SLAB W/6 x 6-W2.9 x 2.9 | 5524 | 10% | 6076.4 | SF
DECK
19 | S1.10-S1.20 |  | 5.5" 3VLI18 NON-COMPOSITE DECK W/W2.1 x W2.1 | 695 | 10% | 764.5 | SF
20 |  |  | 7-1/4" LIGHWEIGHT CONCRETE W/VULCRAFT 3VLI18 COMPOSITE DECK 6 x 6-W2.1 x 2.1 | 6557 | 10% | 7212.7 | SF
FORMWORK
21 | S1.00 |  | FORMWORK FOR ALL FOOTINGS | 1534 | 10% | 1687.4 | SF
22 |  |  | FORMWORK FOR ALL COLUMNS | 1550 | 10% | 1705 | SF
23 |  |  | FORMWORK FOR SLAB | 6187 | 10% | 6805.7 | SF
24 | A100, A320 |  | FORMWORK FOR RETAINING WALLS | 2622 | 10% | 2884.2 | SF
|  | DIV. 04 | MASONRY | [6 empty] | 0
CMU
25 | A100, A200, A320, A600 |  | 8" THK. CMU WALL | 15675.1675 | 10% | 17242.6843 | SF
|  | DIV. 05 | METALS | [6 empty] | 0
STUDS
26 | A100, A200, A600 |  | 6" LIGHT GAUGE METAL STUDS @ 16" O.C. NO. OF STUDS @8'-6" HT: 12 NO. OF STUDS @10'-6" HT: 38 | 501 | 10% | 551.1 | LF
RUNNERS
27 | A100, A200, A600 |  | LIGHT GAUGE METAL TOP TRACK | 66.75 | 10% | 73.425 | LF
28 |  |  | LIGHT GAUGE METAL BOTTOM TRACK | 66.75 | 10% | 73.425 | LF
FRAMING
29 | S1.20 |  | ALLOWANCE PROVIDED FOR HSS STEEL COLUMNS AREA: 6575 SF | 1 | 0% | 1 | LS
BEAMS
30 |  |  | W12X30 | 65 | 10% | 71.5 | LF
31 |  |  | L4X4X1/4 | 79 | 10% | 86.9 | LF
32 |  |  | W8X21 | 38 | 10% | 41.8 | LF
33 |  |  | W12X45 | 26 | 10% | 28.6 | LF
34 |  |  | W8X10 | 170 | 10% | 187 | LF
35 |  |  | W10X12 | 60 | 10% | 66 | LF
36 |  |  | W14X30 | 22 | 10% | 24.2 | LF
37 |  |  | L6X6X3/4" | 81 | 10% | 89.1 | LF
38 |  |  | W12X26 | 49 | 10% | 53.9 | LF
39 |  |  | W14X74 | 48 | 10% | 52.8 | LF
40 |  |  | W16X50 | 33 | 10% | 36.3 | LF
41 |  |  | W12X96 | 24 | 10% | 26.4 | LF
42 |  |  | W21X68 | 21 | 10% | 23.1 | LF
43 |  |  | W16X26 | 46 | 10% | 50.6 | LF
44 |  |  | W10X22 | 5 | 10% | 5.5 | LF
45 |  |  | W8X15 | 15 | 10% | 16.5 | LF
46 |  |  | W16X31 | 56 | 10% | 61.6 | LF
47 |  |  | W8X13 | 15 | 10% | 16.5 | LF
48 |  |  | W24X68 | 53 | 10% | 58.3 | LF
49 |  |  | W24X84 | 27 | 10% | 29.7 | LF
50 |  |  | W18X46 | 44 | 10% | 48.4 | LF
51 |  |  | W18X60 | 27 | 10% | 29.7 | LF
52 |  |  | W12X65 | 15 | 10% | 16.5 | LF
53 |  |  | W16X36 | 15 | 10% | 16.5 | LF
54 |  |  | W16X67 | 37 | 10% | 40.7 | LF
55 |  |  | W21X62 | 22 | 10% | 24.2 | LF
56 |  |  | W12X58 | 14 | 10% | 15.4 | LF
57 |  |  | W10X39 | 40 | 10% | 44 | LF
58 |  |  | W21X83 | 60 | 10% | 66 | LF
59 |  |  | W12X22 | 58 | 10% | 63.8 | LF
60 |  |  | W21X93 | 19 | 10% | 20.9 | LF
61 |  |  | W10X15 | 14 | 10% | 15.4 | LF
62 |  |  | W18X97 | 20 | 10% | 22 | LF
63 |  |  | W18X86 | 38 | 10% | 41.8 | LF
64 |  |  | W14X38 | 19 | 10% | 20.9 | LF
65 |  |  | W18X50 | 18 | 10% | 19.8 | LF
66 |  |  | W21X50 | 20 | 10% | 22 | LF
67 |  |  | W12X40 | 17 | 10% | 18.7 | LF
68 |  |  | W12X16 | 14 | 10% | 15.4 | LF
69 |  |  | W10X17 | 18 | 10% | 19.8 | LF
70 |  |  | W8X18 | 18 | 10% | 19.8 | LF
71 |  |  | W18X55 | 17 | 10% | 18.7 | LF
72 |  |  | W12X14 | 26 | 10% | 28.6 | LF
73 |  |  | W12X19 | 15 | 10% | 16.5 | LF
EXTERIOR RAILING
74 | A200 |  | 3'-4"H METAL RAILING COLOR: CHARCOAL | 86 | 0% | 86 | LF
|  | DIV. 06 | WOOD, PLASTIC & COMPOSITES | [6 empty] | 0
FURRING
75 | A100, A200, A600 |  | 1x3 WOOD FURRING @ 16" O.C. NO. OF FURRINGS @8'-6" HT: 26 NO. OF FURRINGS @9'-0" HT: 137 NO. OF FURRINGS @9'-3" HT: 152 NO. OF FURRINGS @10'-6" HT: 85 NO. OF FURRINGS @10'-8" HT: 331 NO. OF FURRINGS @10'-10" HT: 110 NO. OF FURRINGS @12'-2" HT: 84 | 9497.85 | 10% | 10447.635 | LF
STUDS
76 | A100, A200, A600 |  | 2x4 WOOD STUDS @ 16" O.C. NO. OF STUDS @4'-0" HT: 23 NO. OF STUDS @9'-0" HT: 1040 NO. OF STUDS @9'-2" HT: 346 | 12624.82 | 10% | 13887.302 | LF
77 |  |  | 2x6 WOOD STUDS @ 16" O.C. NO. OF STUDS @9'-0" HT: 616 NO. OF STUDS @9'-3" HT: 303 NO. OF STUDS @10'-8" HT: 642 NO. OF STUDS @10'-10" HT: 214 | 17514.51 | 10% | 19265.961 | LF
PLATES
78 | A100, A200, A600 |  | 2x4 WOOD DOUBLE PLATE AT TOP | 3586 | 10% | 3944.6 | LF
79 |  |  | 2x4 WOOD SINGLE PLATE AT BOTTOM | 1793 | 10% | 1972.3 | LF
80 |  |  | 2x6 WOOD DOUBLE PLATE AT TOP | 4720.66 | 10% | 5192.726 | LF
81 |  |  | 2x6 WOOD SINGLE PLATE AT BOTTOM | 2360.33 | 10% | 2596.363 | LF
BLOCKING
82 | A100, A200, A600 |  | 2x4 WOOD MIDSPAN BLOCKING | 1763 | 10% | 1939.3 | LF
83 |  |  | 2x6 WOOD MIDSPAN BLOCKING | 2360.33 | 10% | 2596.363 | LF
SHEATHING
84 | A100, A200, A600 |  | 1/2" EXTERIOR GRADE PLYWOOD SHEATHING AT WALLS | 12187.98 | 10% | 13406.778 | SF
85 |  |  | 3/4"THK. PLYWOOD ROOF SHEATHING | 5573.5 | 10% | 6130.85 | SF
86 |  |  | 6"THK. ZIP SYSTEM WALL SHEATHING | 781.35 | 10% | 859.485 | SF
INTERIOR TRIMS
87 | A100-A102, A520-A530 |  | NEW INTERIOR TRIM AT WINDOWS | 2622 | 10% | 2884.2 | LF
88 |  |  | NEW INTERIOR TRIM AT DOORS | 6578 | 10% | 7235.8 | LF
MILLWORK
89 | A100-A102, A411, A420,A421 |  | 1'-0''D UPPER CABNETS | 46.5 | 10% | 51.15 | LF
90 |  |  | 2'-0''D BASE CABNETS | 69.5 | 10% | 76.45 | LF
COUNTER TOP
91 | A100-A102, A411, A420,A421 |  | QUARTZ COUNTERTOP | 735.5 | 10% | 809.05 | SF
BACKSPLASH
92 | A100-A102, A411, A420,A421 |  | 4''H BACKSPLASH | 49.5 | 10% | 54.45 | LF
POSTS
93 | S1.30-S1.40 |  | 2X6 POST STUD, DF LARCH #2 OR BETTER @16" O.C. | 5719.12 | 10% | 6291.032 | LF
94 |  |  | 2X4 POST STUD, DF LARCH #2 OR BETTER @16" O.C. | 128.04 | 10% | 140.844 | LF
95 |  |  | 5.25X5.25 1.8E PSL POST | 192.06 | 10% | 211.266 | LF
96 |  |  | 5.25X7 1.8E PSL POST | 74.69 | 10% | 82.159 | LF
97 |  |  | 3.5X5.25 1.8E PSL POST | 42.68 | 10% | 46.948 | LF
98 |  |  | 3.5X3.5 2.0E PSL POST | 85.36 | 10% | 93.896 | LF
BEAMS
99 | S1.30-S1.40 |  | 2X10 BEAM | 64 | 10% | 70.4 | LF
100 |  |  | 2X12 BEAM | 439 | 10% | 482.9 | LF
101 |  |  | 4X8 LINTEL BEAM | 128 | 10% | 140.8 | LF
102 |  |  | 3.5X11.875 PSL BEAM | 148 | 10% | 162.8 | LF
103 |  |  | 1.75X18 LVL LEDGER BEAM | 238 | 10% | 261.8 | LF
104 |  |  | 1.75X7.25 1.9E LVL BEAM | 299 | 10% | 328.9 | LF
105 |  |  | 3.5X9.25 2.0EE PSL BEAM | 36 | 10% | 39.6 | LF
106 |  |  | 3.5X11.25 2.0E PSL BEAM | 32 | 10% | 35.2 | LF
107 |  |  | 3.25X14 2.0E PSL BEAM | 26 | 10% | 28.6 | LF
108 |  |  | 3.5X16 2.0E PSL BEAM | 125 | 10% | 137.5 | LF
109 |  |  | 1.75X11.25 1.9E LVL BEAM | 40 | 10% | 44 | LF
110 |  |  | 1.75X9.25 2.0E LVL BEAM | 68 | 10% | 74.8 | LF
111 |  |  | 1.75X9.5 1.8E LVL BEAM | 58 | 10% | 63.8 | LF
112 |  |  | 5.25X9.25 2.0E PSL BEAM | 4 | 10% | 4.4 | LF
113 |  |  | 5.25X14 2.0E PSL BEAM | 10 | 10% | 11 | LF
114 |  |  | 5.25X18 2.0E PSL BEAM | 39 | 10% | 42.9 | LF
TRUSSES
115 | S1.30-S1.40 |  | 2X4 ENGINEERED WOOD TRUSS @24" O.C. | 9740 | 10% | 10714 | LF
JOISTS
116 | S1.30-S1.40 |  | 2X10 FLOOR JOIST @16" O.C. | 889 | 10% | 977.9 | LF
STRAND BOARD
117 | S1.30-S1.40 |  | 3/4" ORIENTED STRAND BOARD SUBFLOOR (GLUED & SCREWED) | 14848 | 10% | 16332.8 | SF
RIMBOARD
118 | S1.30-S1.40 |  | 1-1/4"X18" RIMBOARD | 9 | 10% | 9.9 | LF
119 |  |  | 1-1/2"X18" RIMBOARD | 1468.6 | 10% | 1615.46 | LF
BLOCKING
120 | A102 DETAILS @ A301 |  | 2X4 WOOD BLOCKING @ ROOF | 2605 | 10% | 2865.5 | LF
121 |  |  | 2X6 WOOD BLOCKING @ ROOF | 4168 | 10% | 4584.8 | LF
|  | DIV. 07 | THERMAL & MOISTURE PROTECTION | [6 empty] | 0
ROOFING
122 | A102 DETAILS @ A301 |  | ROOFING MEMBRANE W/ SEAL ON TOP OF DRIP CAP TO COVER FASTENERS | 7709.19 | 10% | 8480.109 | SF
ICE AND WATER SHEILD
123 | A102 DETAILS @ A301 |  | PROVIDE ICE AND WATER SHEILD UNDER ROOF MEMBRANE | 5573.5 | 10% | 6130.85 | SF
FLASHING
124 | A102 DETAILS @ A301 |  | TYVEK DRAIN WRAP W/ FLASHING @ ROOF PARAPET | 520.9 | 10% | 572.99 | LF
COPING
125 | A102 DETAILS @ A301 |  | ALUMINUM COPING OVER DRIP CAP @ PARAPET | 520.9 | 10% | 572.99 | LF
INSULATION
126 | A100, A200, A600 |  | (R-19) FIBERGLASS BATT INSULATION AT WALLS | 13393.5325 | 10% | 14732.8858 | SF
127 | A102 DETAILS @ A301 |  | 4"THK. POLYISO RIGID SEAM TAPED INSULATION | 5573.5 | 10% | 6130.85 | SF
SEALANT
128 | A100-A102, A520-A530 |  | NEW SEALANT AT DOORS | 6578 | 10% | 7235.8 | LF
129 |  |  | NEW SEALANT AT WINDOWS | 5244 | 10% | 5768.4 | LF
EXTERIOR TRIMS
130 | A100-A102, A520 |  | NEW EXTERIOR TRIM AT WINDOWS | 2622 | 10% | 2884.2 | LF
|  | DIV. 08 | OPENINGS | [6 empty] | 0
DOOR HARDWARE
131 |  |  | ALLOWANCE PROVIDED FOR DOOR HARDWARE | 221 | 0% | 221 | EA
DOORS
132 | A100-A102, A530 |  | 1: 3'-0"W x 6'-8"H x 1-1/2"THK. TWO PANEL H/C STEEL DOOR STYLE: F FINISH: PAINT FRAME: STEEL RATING: 20 MIN. | 19 | 0% | 19 | EA
133 |  |  | 2: 3'-0"W x 6'-8"H x 1-1/2"THK. TWO PANEL SOLID DOOR STYLE: F FINISH: PAINT FRAME: WOOD | 20 | 0% | 20 | EA
134 |  |  | 3: 2'-6"W x 6'-8"H x 1-1/2"THK. TWO PANEL H/C COMPOSITE DOOR STYLE: I FINISH: PAINT FRAME: WOOD | 12 | 0% | 12 | EA
135 |  |  | 4: 3'-0"W x 6'-8"H x 1-1/2"THK. 2-PAN. LOUVER H/C COMPOSITE DOOR STYLE: K FINISH: PAINT FRAME: WOOD | 20 | 0% | 20 | EA
136 |  |  | 5: 2'-10"W x 6'-8"H x 1-1/2"THK. TWO PANEL H/C COMPOSITE DOOR STYLE: J FINISH: PAINT FRAME: WOOD | 20 | 0% | 20 | EA
137 |  |  | 6: 2'-6"W x 6'-8"H x 1-1/2"THK. 2-PAN. LOUVER H/C COMPOSITE DOOR STYLE: H FINISH: PAINT FRAME: WOOD | 20 | 0% | 20 | EA
138 |  |  | 7: 3'-0"W x 6'-8"H x 1-1/2"THK. TWO PANEL SOLID DOOR STYLE: F FINISH: PAINT FRAME: WOOD | 28 | 0% | 28 | EA
139 |  |  | 8: 3'-0"W x 6'-8"H x 1-1/2"THK. TWO PANEL H/C COMPOSITE DOOR STYLE: F FINISH: PAINT FRAME: WOOD | 8 | 0% | 8 | EA
140 |  |  | 9: 1'-10"W x 6'-8"H x 1-1/2"THK. TWO PANEL H/C COMPOSITE DOOR STYLE: G FINISH: PAINT FRAME: WOOD | 8 | 0% | 8 | EA
141 |  |  | 10: 5'-0"W x 6'-8"H x 1-1/2"THK. TWO PANEL SLIDER H/C COMPOSITE DOOR STYLE: E FINISH: PAINT FRAME: WOOD | 16 | 0% | 16 | EA
142 |  |  | 11: 3'-0"W x 6'-8"H x 1-3/4"THK. H/C STEEL FLUSH DOOR STYLE: E FINISH: PAINT FRAME: STEEL RATING: 90 MIN. | 16 | 0% | 16 | EA
143 |  |  | 12: 6'-6"W x 6'-8"H x 1-3/4"THK. GLASS SLIDER ALUMINIUM DOOR STYLE: C FINISH: PAINT FRAME: WOOD | 1 | 0% | 1 | EA
144 |  |  | 13: 3'-0"W x 6'-8"H x 1-3/4"THK. TWO PANEL H/C STEEL DOOR STYLE: B FINISH: PAINT FRAME: STEEL | 5 | 0% | 5 | EA
145 |  |  | 14: 3'-0"W x 6'-8"H x 1-1/2"THK. H/C STEEL FLUSH DOOR STYLE: K FINISH: PAINT FRAME: STEEL RATING: 45 MIN. | 2 | 0% | 2 | EA
146 |  |  | 15: 1'-10"W x 6'-8"H x 1-1/2"THK. H/C STEEL FLUSH DOOR STYLE: K FINISH: PAINT FRAME: STEEL | 2 | 0% | 2 | EA
147 |  |  | 17: 3'-0"W x 6'-8"H x 1-3/4"THK. H/C STEEL FLUSH DOOR STYLE: A FINISH: PAINT FRAME: STEEL RATING: 90 MIN. | 1 | 0% | 1 | EA
148 |  |  | 20: 3'-0"W x 6'-8"H x 1-3/4"THK. H/C COMPOSITE FLUSH DOOR STYLE: A FINISH: PAINT FRAME: STEEL RATING: 90 MIN. | 3 | 0% | 3 | EA
149 |  |  | 2'-6" x 6'-8" PANTRY SHELF DOOR | 20 | 0% | 20 | EA
WINDOWS
150 | A100-A102, A520 |  | A: 6'-0"W X 6'-0"H WINDOW FRAME COLOR: BLACK EXTERIOR, WHITE INTERIOR | 56 | 0% | 56 | EA
151 |  |  | B: 3'-0"W X 6'-0"H WINDOW FRAME COLOR: BLACK EXTERIOR, WHITE INTERIOR | 71 | 0% | 71 | EA
STOREFRONT
152 | A100-A102, A520 |  | 16'-11" x 7'-3" STOREFRONT | 1 | 0% | 1 | EA
153 |  |  | 17'-10" X 9'-0" STOREFRONT | 1 | 0% | 1 | EA
HEADERS
154 | A100-A102, A520-A530 |  | NEW 7-1/4" HEADERS AT DOORS | 79 | 10% | 86.9 | LF
155 |  |  | NEW 6-1/2" HEADERS AT DOORS | 64 | 10% | 70.4 | LF
156 |  |  | NEW 4-3/4" HEADERS AT DOORS | 465 | 10% | 511.5 | LF
157 |  |  | NEW HEADERS AT WINDOWS | 549 | 10% | 603.9 | LF
JAMBS
158 | A100-A102, A520-A530 |  | NEW 7-1/4" HEADERS AT DOORS | 334 | 10% | 367.4 | LF
159 |  |  | NEW 6-1/2" HEADERS AT DOORS | 293 | 10% | 322.3 | LF
160 |  |  | NEW 4-3/4" HEADERS AT DOORS | 2054 | 10% | 2259.4 | LF
161 |  |  | NEW JAMBS AT WINDOWS | 1524 | 10% | 1676.4 | LF
SILL
162 | A100-A102, A520 |  | NEW SILL AT WINDOWS | 549 | 10% | 603.9 | LF
ROOF VENTS
163 | A102 DETAILS @ A301 |  | 6X6 ROOF VENTS | 65 | 0% | 65 | EA
|  | DIV. 09 | FINISHES | [6 empty] | 0
EXTERIOR FINISHES
164 | A100, A200, A600 |  | NICHIHA FIBER CEMENT BOARD & BATTEN PANELS COLOR: GREY | 1304.25 | 10% | 1434.675 | SF
CEMENT BOARD
165 | A200 |  | FIBER CEMENT BOARD & BATTEN COLOR: GREY | 918 | 10% | 1009.8 | SF
CORNICE/BAND
166 | A200 |  | FIBER GLASS CORNICE | 437 | 10% | 480.7 | LF
167 |  |  | CAST STONE CORNICE | 682 | 10% | 750.2 | LF
168 | A20 |  | CAST STONE BAND | 49 | 10% | 53.9 | LF
|  |  | BRICK FINISH |  |  | 0
169 | A200 |  | BRICKS COLOUR RED | 11971 | 10% | 13168.1 | SF
170 |  |  | BRICKS COLOUR GREY | 892 | 10% | 981.2 | SF
INTERIOR FINISHES
STUCCO
171 | A100, A200, A600 |  | 5/8" STUCCO FINISH AT INTERIOR SIDE OF PARKING | 2854.84 | 10% | 3140.324 | SF
FLOORING
172 | A100-A102, A511 |  | EXPOSED CONCRETE W/SEALER | 8105.5 | 10% | 8916.05 | SF
173 |  |  | LUXURY VINYL TILE | 17026.5 | 10% | 18729.15 | SF
174 |  |  | TILE OVER DITRA XL MAT | 1138 | 10% | 1251.8 | SF
175 |  |  | PORCELAIN PAVERS | 958 | 10% | 1053.8 | SF
176 |  |  | CARPET FLOOR | 1920 | 10% | 2112 | SF
FLOOR TRANSITION
177 | A100-A102, A511 |  | LVT TO CARPET FLOOR TRANSITION | 435 | 10% | 478.5 | LF
178 |  |  | LVT TO EXPOSED CONCRETE FLOOR TRANSITION | 22.63 | 10% | 24.893 | LF
179 |  |  | PAVERS TO LVT FLOOR TRANSITION | 9.16 | 10% | 10.076 | LF
180 |  |  | TILE TO CARPET FLOOR TRANSITION | 61.52 | 10% | 67.672 | LF
WALL BASE
181 | A100-A102, A511 |  | 4" COVE TILE BASE | 573.2 | 10% | 630.52 | LF
182 |  |  | 5" PAINT GRADE WOOD BASE | 5333.5 | 10% | 5866.85 | LF
WALL FINISHES
183 | A100-A102, A511 |  | CERAMIC TILE AT BATH WALLS | 2292 | 10% | 2521.2 | SF
184 |  |  | LATEX PAINT AT WALLS | 75731.145 | 10% | 83304.2595 | SF
CEILING MATERIAL
185 | A100-A102, A511 |  | SUSPENDED RIGID 'X' MATERIAL AT CEILING | 5833.5 | 10% | 6416.85 | SF
CEILING FINISHES
186 | A100-A102, A511 |  | ONE COAT OF PRIMER & TWO COATS OF PAINT AT CEILING | 17940.5 | 10% | 19734.55 | SF
187 |  |  | SUSPENDED CEILING TILES | 6967.5 | 10% | 7664.25 | SF
GYPSUM BOARD
188 | A100, A200, A600 |  | 5/8" FIRE RATED GYPSUM BOARD TAPE & SPACKLE AT WALLS | 74175.6635 | 10% | 81593.2299 | SF
189 |  |  | NO. OF SHEETS | 2549.7884 | 0% | 2549.7884 | EA
190 |  |  | ADHESIVE SEALANT (28 OZ) | 2529.3901 | 0% | 2529.3901 | TUBES
191 |  |  | TAPPING | 61.1949 | 0% | 61.1949 | ROLLS
192 |  |  | 5/8" FIRE RATED MOISTURE RESISTANT GYPSUM BOARD TAPE & SPACKLE AT WALLS | 5718.24 | 10% | 6290.064 | SF
193 |  |  | NO. OF SHEETS | 196.5645 | 0% | 196.5645 | EA
194 |  |  | ADHESIVE SEALANT (28 OZ) | 194.992 | 0% | 194.992 | TUBES
195 |  |  | TAPPING | 4.7175 | 0% | 4.7175 | ROLLS
196 | A101-A102, A511 |  | 5/8" GYPSUM BOARD AT CEILING | 17940.5 | 10% | 19734.55 | SF
197 |  |  | NO. OF SHEETS | 616.7047 | 0% | 616.7047 | EA
198 |  |  | ADHESIVE SEALANT (28 OZ) | 611.7711 | 0% | 611.7711 | TUBES
199 |  |  | TAPPING | 14.8009 | 0% | 14.8009 | ROLLS
200 |  |  | 5/8" SUSPENDED GYPSUM BOARD AT CEILING | 1134 | 10% | 1247.4 | SF
201 |  |  | NO. OF SHEETS | 38.9813 | 0% | 38.9813 | EA
202 |  |  | ADHESIVE SEALANT (28 OZ) | 38.6694 | 0% | 38.6694 | TUBES
203 |  |  | TAPPING | 0.93555 | 0% | 0.93555 | ROLLS
|  | DIV. 10 | SPECIALITIES | [6 empty] | 0
TOILET ACCESSORIES
204 | A100,A102 |  | MIRRORS | 20 | 0% | 20 | EA
205 |  |  | 36'' L HORIZONTAL GRAB BAR | 40 | 0% | 40 | EA
206 |  |  | 42'' L VERTICAL GRAB BAR | 20 | 0% | 20 | EA
207 |  |  | SOAP DISPENSER | 20 | 0% | 20 | EA
208 |  |  | TISSUE DISPENSER | 20 | 0% | 20 | EA
209 |  |  | ROBE HOOK | 20 | 0% | 20 | EA
210 |  |  | CURTAIN ROD | 20 | 0% | 20 | EA
211 |  |  | 42'' L TUB GRAB BARS | 40 | 0% | 40 | EA
212 |  |  | 24'' TOWEL BAR | 20 | 0% | 20 | EA
|  | DIV. 11 | EQUIPMENTS | [6 empty] | 0
APPLIANCES
213 | P220 |  | DISHWASHER | 20 | 0% | 20 | EA
214 |  |  | CLOTHES WASHER | 20 | 0% | 20 | EA
215 |  |  | COOKING RANGE | 20 | 0% | 20 | EA
216 |  |  | 30'' REFRIGERATOR | 20 | 0% | 20 | EA
|  | DIV. 11 | EQUIPMENTS | [6 empty] | 0
217 |  |  | ALLOWANCE FOR ELEVATOR 1 (1-5 FLOOR) | 1 | 0% | 1 | EA
|  | DIV. 22 | PLUMBING | [6 empty] | 0
PLUMBING FIXTURES
218 | P220 |  | AMERICAN STANDARD WATER CLOSET | 20 | 0% | 20 | EA
219 |  |  | BATHTUB | 20 | 0% | 20 | EA
220 |  |  | LAVATORY | 20 | 0% | 20 | EA
221 |  |  | KITCHEN SINK | 20 | 0% | 20 | EA
222 | P300,P100,P120 |  | SP-1: SUMP PUMP FLOW RATE: 2GPM MODEL: EPD-5MS1 SIZE: 9'' D X 18'' H MFR: EBARA | 1 | 0% | 1 | EA
223 |  |  | RCP-1: RE-CIRCULATION PUMP FLOW RATE: 50 GPM MODEL: 009-SF5 SIZE: 7''X5''X7'' MFR: TACO | 1 | 0% | 1 | EA
224 |  |  | DBP-1: BOOSTER PUMPS FLOW RATE: 66 GPM MODEL: PRODIGY-DUPLEX SIZE: 30''X24''X10'' MFR: QUANTUMFLO | 2 | 0% | 2 | EA
225 |  |  | EXPANSION TANK | 1 | 0% | 1 | EA
WATER HEATER
226 | P220,A101,102 |  | HOT WATER HEATER NOTE: SPECS NOT DEFINED | 20 | 0% | 20 | EA
PIPE WORK
SANITARY PIPING
227 |  |  | ALLOWANCE PROVIDED FOR SANITARY PIPING AREA: 35,000 SF | 1 | 0% | 1 | LS
STORM PIPING
228 |  |  | ALLOWANCE PROVIDED FOR STROM WATER PIPING AREA: 35,000 SF | 1 | 0% | 1 | LS
GAS PIPING
229 |  |  | ALLOWANCE PROVIDED FOR GAS PIPING AREA: 35,000 SF | 1 | 0% | 1 | LS
WATER SUPPLY PIPING
230 |  |  | ALLOWANCE PROVIDED FOR SUPPLY PIPING AREA: 35,000 SF | 1 | 0% | 1 | LS
DRAINS, DEVICES AND FITTINGS
231 |  |  | ALLOWANCE PROVIDED FOR DRAINS, DEVICES AND FITTINGS AREA: 35,000 SF | 1 | 0% | 1 | LS
VALVES
232 |  |  | ALLOWANCE PROVIDED FOR VALVES AREA: 35,000 SF | 1 | 0% | 1 | LS
|  | DIV. 23 | HEATING VENTILATION AND AIR CONDITIONING | [6 empty] | 0
EQUIPMENTS
233 | M100-M303 |  | ACU-1: AC CONDENSER AND COIL MFR: GOODMAN MODEL: CONDENSOR:CGSX130241 COIL: CAPF1824A6 OR EQUAL AHRI# 9979614 | 20 | 0% | 20 | EA
234 |  |  | F-1: UPFLOW HORIZONTAL FURNACE MFR: GOODMAN MODEL: GMEC960303ANA | 20 | 0% | 20 | EA
235 |  |  | EF-1: EXHAUST FAN MFR: PANASONIC MODEL: WHISPER GREEN FV-11-15VK1 | 16 | 0% | 16 | EA
236 |  |  | EF-2: SWITCH EXHAUST FAN MFR: PANASONIC MODEL: WHISPER GREEN FV-05-11VK2 | 36 | 0% | 36 | EA
237 |  |  | EF-3: CEILING MOUNTED EXHAUST FAN MFR: BROAN MODEL: 673 | 4 | 0% | 4 | EA
238 |  |  | EF-4: CEILING MOUNTED EXHAUST FAN MFR: BROAN MODEL: L100 | 4 | 0% | 4 | EA
239 |  |  | SF-1: DIRECT DRIVE CENTRIFUGAL INLINE FAN MFR: GREENHECK MODEL: SQ-60-VG | 4 | 0% | 4 | EA
240 |  |  | MSC-1: MULTIPLE SPLIT SYSTEM FLEX MULTI INVERTER HEAT PUMP MFR: AB MODEL: AB82008 | 1 | 0% | 1 | EA
241 |  |  | MSW-1: MULTIPLE SPLIT SYSTEM WALL UNIT MFR: DAIKIN MODEL: FXAQ07PVJU | 4 | 0% | 4 | EA
242 |  |  | MSW-2: MULTIPLE SPLIT SYSTEM WALL UNIT MFR: DAIKIN MODEL: FXHQ12MVJU | 2 | 0% | 2 | EA
243 |  |  | MSW-3: NOTE: SPECS NOT PROVIDED | 3 | 0% | 3 | EA
244 |  |  | MSW-4: NOTE: SPECS NOT PROVIDED | 1 | 0% | 1 | EA
245 |  |  | MSW-5: NOTE: SPECS NOT PROVIDED | 4 | 0% | 4 | EA
246 |  |  | MSW-6: NOTE: SPECS NOT PROVIDED | 1 | 0% | 1 | EA
DUCT WORKS
SUPPLY DUCT
247 | M100-M303 |  | 6" DIA FLEXIBLE DUCT | 729.16 | 10% | 802.076 | LF
248 |  |  | 8" DIA FLEXIBLE DUCT | 509.2 | 10% | 560.12 | LF
249 |  |  | 6X8 SUPPLY DUCT | 47.88 | 10% | 52.668 | LF
250 |  |  | 8X8 SUPPLY DUCT | 34.72 | 10% | 38.192 | LF
251 |  |  | 6" DIA RIGID FRESH AIR INTAKE DUCT | 94.4 | 10% | 103.84 | LF
252 |  |  | 8" DIA RIGID FRESH AIR INTAKE DUCT | 88.52 | 10% | 97.372 | LF
253 |  |  | 8X10 SUPPLY DUCT | 48.6 | 10% | 53.46 | LF
254 |  |  | 10X10 SUPPLY DUCT | 34.96 | 10% | 38.456 | LF
255 |  |  | 12X12 SUPPLY DUCT | 260.2 | 10% | 286.22 | LF
RETURN DUCT
256 | M100-M303 |  | 10X10 RETURN DUCT W/ 16X24 WRAG | 6.68 | 10% | 7.348 | LF
257 |  |  | 12X10 RETURN DUCT W/ 16X24 WRAG | 10.36 | 10% | 11.396 | LF
258 |  |  | 12X12 RETURN DUCT W/ 16X24 WRAG | 26.44 | 10% | 29.084 | LF
259 |  |  | 12X12 RETURN DUCT W/ 16X24 WRAG | 26.44 | 10% | 29.084 | LF
EXHAUST DUCT
260 | M100-M303 |  | 4" DIA EXHAUST DUCT | 1565.16 | 10% | 1721.676 | LF
261 |  |  | 24X9 EXHAUST DUCT | 143.68 | 10% | 158.048 | LF
262 |  |  | 24X16 EXHAUST DUCT | 144.24 | 10% | 158.664 | LF
263 |  |  | 24X24 EXHAUST DUCT | 106.4 | 10% | 117.04 | LF
DIFFUSERS
264 | M100-M303 |  | 8X8 SUPPLY REGISTER | 156 | 0% | 156 | EA
265 |  |  | 12x12 SUPPLY DIFFUSER | 5 | 0% | 5 | EA
266 |  |  | 12x12 RETURN DIFFUSER | 20 | 0% | 20 | EA
267 |  |  | 24x24 RETURN DIFFUSER | 1 | 0% | 1 | EA
268 |  |  | 12X12 CR CFM: 448 CFM | 5 | 0% | 5 | EA
269 |  |  | 14X8 CR CFM: 448 CFM | 3 | 0% | 3 | EA
GRILLS
270 | M100-M303 |  | 8X8 EXHAUST GRILL | 20 | 0% | 20 | EA
271 |  |  | 8X8 TRANSFER GRILL | 28 | 0% | 28 | EA
272 |  |  | 8X16 EXHAUST GRILL | 16 | 0% | 16 | EA
MISC.
273 |  |  | 8X8 CRAG NOTE: SPECS NOTE DEFINED | 1 | 0% | 1 | EA
274 | M100 |  | 48X48 MECHANICALLY ACTUATED LOUVER | 1 | 0% | 1 | EA
275 |  |  | SL-1: SUPPLY DIFFUSER NOTE: SPECS NOT DEFINED | 1 | 0% | 1 | EA
276 |  |  | ALLOWANCE PROVIDED FOR MECHANICAL EQUIPMENT & MISC. ITEMS AREA: 31,000 SF | 1 | 0% | 1 | LS
|  | DIV. 26 | ELECTRICAL | [6 empty] | 0
277 |  |  | ALLOWANCE PROVIDED FOR ELECTRICAL WIRING, CONDUITS ETC. AREA: 31,000 SF | 1 | 0% | 1 | LS
278 | E100,E101 |  | COMMON UTILITY ROOM OVERHEAD LIGHT FIXTURE | 17 | 0% | 17 | EA
279 |  |  | COMMON STAIR OVERHEAD LIGHT FIXTURE | 26 | 0% | 26 | EA
280 |  |  | CEILING MOUNTED LIGHT | 8 | 0% | 8 | EA
281 |  |  | COMMON EXTERIOR BOLLARD LIGHT FIXTURE | 11 | 0% | 11 | EA
282 |  |  | COMMON CORRIDOR CEILING MOUNTED LIGHT FIXTURE | 31 | 0% | 31 | EA
283 |  |  | COMMON EXTERIOR WALL SCONCE LIGHT FIXTURE | 7 | 0% | 7 | EA
284 |  |  | UNIT EXTERIOR WALL SCONCE LIGHT FIXTURE | 2 | 0% | 2 | EA
285 |  |  | CORRIDOR/LIVING/DINING/CEILING MOUNTED LIGHT FIXTURE | 69 | 0% | 69 | EA
286 |  |  | BEDROOM CEILING MOUNTED LIGHT FIXTURE | 30 | 0% | 30 | EA
287 |  |  | BATHROOM CEILING MOUNTED LIGHT FIXTURE | 20 | 0% | 20 | EA
288 |  |  | BATHROOM WALL MOUNTED LIGHT FIXTURE | 20 | 0% | 20 | EA
289 |  |  | KITCHEN CEILING MOUNTED LIGHT FIXTURE | 40 | 0% | 40 | EA
290 |  |  | KITCHEN PENDANT LIGHT FIXTURE | 35 | 0% | 35 | EA
291 |  |  | WALK-IN CLOSET WALL MOUNTED LIGHT FIXTURE | 5 | 0% | 5 | EA
292 |  |  | MECHANICAL/LAUNDRY ROOM WALL MOUNTED LIGHT FIXTURE | 55 | 0% | 55 | EA
SWITCHES
293 | E100,E101 |  | SINGLE POLE SWITCH | 183 | 0% | 183 | EA
294 |  |  | THREE WAY SWITCH | 67 | 0% | 67 | EA
SENSOR
295 | E100,E101 |  | COMMON EXTERIOR WALL SCONCE LIGHT FIXTURE | 30 | 0% | 30 | EA
RECEPTACLE
296 | E110,E111 |  | NEW DUPLEX RECEPTACLE | 303 | 0% | 303 | EA
297 |  |  | DUPLEX RECEPTACLE AT PUBLIC SPACES , WIRE TO KEYED SWITCH | 42 | 0% | 42 | EA
298 |  |  | NEW GROUND FAULT INTERRUPTER RECEPTACLE | 147 | 0% | 147 | EA
299 |  |  | NEW WATER GROUND PROOF FAULT INTERRUPTER RECEPTACLE | 30 | 0% | 30 | EA
300 |  |  | NEW MICROWAVE RECEPTACLE | 20 | 0% | 20 | EA
301 |  |  | THREE POLE RECEPTACLE | 40 | 0% | 40 | EA
PANELS
302 | E110,E111 |  | ELECTRICAL PANEL | 15 | 0% | 15 | EA
303 |  |  | HP-1 , 60A , 120/208V, 1PHASE | 2 | 0% | 2 | EA
304 |  |  | HP-1A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
305 |  |  | HP-2A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
306 |  |  | HP-3A , 60A , 120/208V, 1PHASE | 2 | 0% | 2 | EA
307 |  |  | HP-5A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
308 |  |  | EM-1A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
309 |  |  | EM-2A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
310 |  |  | EM-3A , 60A , 120/208V, 1PHASE | 2 | 0% | 2 | EA
311 |  |  | HP-5A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
312 |  |  | EM-5A , 60A , 120/208V, 1PHASE | 1 | 0% | 1 | EA
MISC
313 | E110,E111 |  | THERMOSTAT | 20 | 0% | 20 | EA
314 |  |  | TELECPHONE JACK | 20 | 0% | 20 | EA
315 |  |  | CABLE/TELEVISION | 45 | 0% | 45 | EA
316 |  |  | CABLE TV/FIOS TERMINAL CABINET | 20 | 0% | 20 | EA
316 |  |  | RECIRCULATING RANGE HOOD | 14 | 0% | 14 | EA
BASEBOARDS
317 | M301 |  | EB-1: ELECTRICAL BASEBOARD MFR: AB MODEL: AB82008 | 1 | 0% | 1 | EA
318 |  |  | EB-2: ELECTRICAL BASEBOARD MFR: AB MODEL: AB61501 | 2 | 0% | 2 | EA
319 |  |  | EB-3: ELECTRICAL BASEBOARD MFR: AB MODEL: AB0758 | 6 | 0% | 6 | EA
GENERATOR
320 |  |  | NATURAL GAS GENERATOR, MFG: GENRAC, MODEL: SG 060, 60KW, 3-PHASE; 923 CFH GAS CONSUMPTION RATE; 1" GAS CONNECTION | 1 | 0% | 1 | EA
|  | DIV. 31 | EARTHWORK | [6 empty] | 0
EXCAVATION
321 | S1.00 |  | TOTAL EXCAVATION | 894.6796 | 10% | 984.1476 | CY
322 |  |  | EXCAVATION FOR CONTINUOUS FOOTINGS | 75.963 | 10% | 83.5593 | CY
323 |  |  | EXCAVATION FOR SPREAD FOOTINGS | 68.1204 | 10% | 74.9324 | CY
324 |  |  | EXCAVATION FOR MATT FOOTINGS | 123.6907 | 10% | 136.0598 | CY
325 |  |  | EXCAVATION FOR BASEMENT | 575.7352 | 10% | 633.3087 | CY
326 |  |  | EXCAVATION FOR ELEVATOR PIT | 51.1704 | 10% | 56.2874 | CY
BACKFILL
327 | S1.00 |  | TOTAL BACKFILL EXCAVATION | 481.1926 | 10% | 529.3119 | CY
328 |  |  | BACKFILL FOR CONTINUOUS FOOTINGS | 43.4 | 10% | 47.74 | CY
329 |  |  | BACKFILL FOR SPREAD FOOTINGS | 76.3 | 10% | 83.93 | CY
330 |  |  | BACKFILL FOR MATT FOOTINGS | 82.6 | 10% | 90.86 | CY
331 |  |  | BACKFILLFOR BASEMENT | 254.3889 | 10% | 279.8278 | CY
332 |  |  | BACKFILL FOR ELEVATOR PIT | 24.5037 | 10% | 26.9541 | CY
333 | C110 - C240 |  | 6"THK. COMPACTED SOURSES W/ 3/4" X 10"THK. BROKEN STONE BEDDING PROVIDED FOR UTILITIES | 1289 | 10% | 1417.9 | SF
TRENCHING
334 | C110 - C240 |  | TRENCHING PROVIDED FOR SITE | 547.6556 | 10% | 602.4211 | CY
|  | DIV. 32 | EXTERIOR IMPROVMENTS | [6 empty] | 0
LANDSCAPE
TREE
335 | C-150 |  | GB: 18' NEW TREE BOTAINICAL NAME: ACER PLAMATUM 'BLOODGOOD' | 1 | 0% | 1 | EA
SHRUBS
336 | C-150 |  | IG: 4'H INKBERRY SHRUBS BOTAINICAL NAME: LLEX GLABRA | 10 | 0% | 10 | EA
GROUND COVERS
337 | C-150 |  | JH: 6"BLUE RUG JUNIPER GROUND COVER BOTAINICAL NAME: JUNIPERUS HORIZONTALIS 'WILTONII' | 16 | 0% | 16 | EA
338 |  |  | LS: 2'H LILLY TURF GROUND COVER BOTAINICAL NAME: LIRIOPE SPICATA | 9 | 0% | 9 | EA
MIXED PERENNIALS
339 | C-150 |  | HR: 3'H RED DAYLILLY MIXED PERENNIALS BOTAINICAL NAME: HEMEROCALLUS 'RED RUM' | 8 | 0% | 8 | EA
MULCHING
340 | C-150 |  | 3"THK. RED MULCH W/ 8"THK. TOPSOIL TO ALL PLANTING BEDS NOTE: PROVIDE 3"THK. TRIPLE SHREDDED HARDWOOD BLACK MULCH, FREE FROM ALL CONTAMINANTS & DEBRIS. | 943.59 | 10% | 1037.949 | SF
TREE GRATE FRAME
341 | C-150 |  | BLACK POWER COATED TREE GRATE FRAME W/ 16 SHEAR STUDS GRATE MODEL NO.: T94601 FRATE FRAME MODEL: TF60 MFR.: WABASH VALLEY/ BOYCE ASSOCIATES W/ 4"THK. BROWN PEA GRAVEL UNDER TREE GRATE & CONCRETE CURB @ PERIMETER | 240 | 10% | 264 | LF
SOIL EROSION & SEDIMENT CONTROL
CRUSHEDSTONE CLEANING BED
342 | C-140 |  | 2 1/2"THK. CRUSHED STONE CLEANING BED | 1257.98 | 10% | 1383.778 | SF
FENCE
343 | C-140 |  | TEMPORARY CONSTRUCTION FILTER FENCE W/ 2" X 2" POSTS @ 8'-0" O.C. | 433.44 | 10% | 476.784 | LF
STOCKPILE
344 | C-140 |  | TEMPORARY STOCKPILE/ PUBLIC R.O.W & TRANSITION | 81.2 | 10% | 89.32 | SF
SITE PREPARATION
CURB
345 | C-120 |  | 9"THK. X 20"D CONCRETE CURB | 49.25 | 10% | 54.175 | LF
346 |  |  | DEPRESSED CURB AND CONCRETE APRON | 21.84 | 10% | 24.024 | LF
SIDEWALK
347 | C-120 |  | 4"THK. CONCRETE SIDEWALK W/ 6" X 6" W1.4X W1.4 W.W.F. REINFORCEMENT | 1727.28 | 10% | 1900.008 | SF
348 |  |  | 4"THK. "TYPE-5, CLASS A" GRANULAR SUBBASE W/ COMPACTED SUBGRADE | 1727.28 | 10% | 1900.008 | SF
349 |  |  | 1/2"THK. NON-EXTRUDABLE, FIBROUS BITUMASTIC MATERIAL | 447 | 10% | 491.7 | LF
FENCE
348 | C-120 |  | 6'-0"H VINYL FENCE | 421.66 | 10% | 463.826 | LF
STORM AVENUE
350 | C-120 |  | MILLED AND PAVED STORM AVENUE | 2134.65 | 10% | 2348.115 | SF
|  | DIV. 33 | UTILITIES | [6 empty] | 0
UTILITY LINES
351 | C-130 |  | GAS METER LINE | 88.53 | 10% | 97.383 | LF
352 |  |  | 8"DIA. WATER MAIN | 67.17 | 10% | 73.887 | LF
353 |  |  | 24"DIA.HDPE SOLID PIPE SYSTEM | 150.18 | 10% | 165.198 | LF
354 |  |  | 24"DIA.HDPF SOLID PIPE | 5.42 | 10% | 5.962 | LF
355 |  |  | 6"DIA. HDPE PIPE | 16.26 | 10% | 17.886 | LF
356 |  |  | 12" TRENCH DRAIN | 16.84 | 10% | 18.524 | LF
357 |  |  | 8"DIA. SDR PIPE | 37.43 | 10% | 41.173 | LF
358 |  |  | 35" X 25" OVAL SEWER MAIN | 67.33 | 10% | 74.063 | LF
359 |  |  | 6"DIA. PVC SANITARY SEWER LINE | 32.32 | 10% | 35.552 | LF
360 |  |  | 6"DIA. D.I.P. COMBINED DOM. SPRINKLER WATER LINE | 57.78 | 10% | 63.558 | LF
361 |  |  | UNDERGROUND ELECTRIC SERVICE | 105.46 | 10% | 116.006 | LF
MANHOL/DRAINS/VALVES
362 | C-130 |  | DRAINS W/ DRAINAGE GRATE | 2 | 0% | 2 | EA
363 |  |  | DOGHOUSE MANHOLE | 1 | 0% | 1 | EA
364 |  |  | GAS METER BANK (4 METER STACK) | 1 | 0% | 1 | EA
365 |  |  | CONTROL OUTLET | 1 | 0% | 1 | EA
366 |  |  | CURB VALVE | 1 | 0% | 1 | EA
TOTAL BID

## Rough (hidden)
| LF | HT | SF | NET SF | NET LF | GYP- THK. TYPE | GYP SIDES | TOTAL GYP | INSULATION
TYPE-1 | 467 | 9.333 | 4358.511 | 4358.511 | 467 | 5/8" PAPERLESS | 1 | 4358.511 | 0
TYPE-2 | 571.1 | 9.333 | 5330.0763 | 4748.6388 | 508.8009 | 5/8" PAPERLESS | 2 | 9497.2776 | 4748.6388
TYPE-2A | 36.9 | 3.5 | 129.15 | 129.15 | 36.9 | 5/8" PAPERLESS | 2 | 258.3 | 0
TYPE-5 | 106 | 9.333 | 989.298 | 947.298 | 101.4998 | 5/8" X TYPE | 4 | 3789.192 | 947.298
[8 empty] | 14114.0886 | 5695.9368

## Sheet2 (hidden)
DP01 DEMO (E) STAIR AND LANDING, PATCH AND REPAIRE ADJACENT WALL. | DEMOLITION
DP02 DEMO (E) WALL, PATCH AND REPAIR ADJACENT AREA.
DP03 DEMO (E) WALL FOR NEW DOOR/ GATE OPENING.
DP04 DEMO (E) WALL ABOVE (N) ADA PARKING STALL AREA TO RECEIVE (N) SLAB, PATCH AND REPAIR ADJACENT AREA.
DP05 DEMO (E) CHAINLINK FENCE.
DP06 DEMO (E) FLOOR SLAB FOR NEW PLUMBING TRENCH AND PIPES, PATCH AND REPAIR ADJACENT AREA.
DP07 DEMO (E) DOOR, INFILL OPENING, PATCH AND REPAIRE ADJACENT WALL.
DP08 DEMO (E) FLOOR SLAB.
DP09 DEMO (E) ABOVE AND BELOW GRADE STRUCTURE AND FOUNDATION ON SITE, SEE GENERAL NOTES FOR DETAILS.
DP11 REMOVER (E) PARKING STRIP FOR RE-STRIPING.
DP22 DEMO (E) PLASTER FENCE WALL AND GATE AT (E) TRANSFORMER.
DP23 DEMO (E) TRANSFORER PAD AND FLOOR SLAB; SEE ELEC. AND ST.DWGS.
DP24 DEMO (E) WOOD FENCE, TYP.
DP25 DEMO (E) EXISTING CURB CUT, GUTTER AND AC PAVER. SEE CIVIL DWGS.
DP26 (E) CMU WALL TO REMAIN. REMOVE (E) WOOD FENCE (WHERE OCCURS) AND PREPARE FOR EXTENSION OF (E) CMU WALL.
SP02 REMOVE EXISTING CURB CUT, PATCH AND REPAIR TO MATCH ADJACENT.
EL01 CUSTOM DECORATIVE STEEL SCREEN PANELS W/ VARYING DENSITY PATTERN, PAINTED FINISH - COLOR TBD, SEE SHEET A9.4 FOR MORE INFO. | EXTERIOR FINISHES
EL02 WHITE CORRUGATED METAL RAIN SCREEN, KYNAR FINISH, PERFORATION/PATTERN TBD, SEE SHEET A9.5 FOR MORE INFO.
EL03 VERTICAL STANDING SEAM METAL PANEL SYSTEM RHEINZINK OR PAINTED FACTORY FINISH - COLOR TBD
EL04 WINDOW WITH DECORATIVE METAL PANEL W/ FACTORY FINISH, CONTRASTING COLOR TBD
EL06 WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISH, COLOR T.B.D. SEE SHEET A9.3 FOR MORE INFO.
EL07 MECH. LOUVER INTERGRATED WITH (CURTAIN WALL) WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISHE, COLOR TO MATCH WINODW FRAME.
EL08 CANOPY WITIH METAL CLADDING PANEL WITH FACTORY APPLIED FINISH, COLOR: T.B.D. WITH INTERGRATED LIGHTING FIXTURES.
EL09 CONCRETE PARAPET WALL WITH INTERGRATED LIGHTING FIXTURES WHERE OCCURS, SEE ELEC. DRAWING FOR MORE INFO.
EL10 GREEN ROOF/ PLANTER, DRAINAGE AND IRRIGATION SYSTEM RAISED OVER WATERPROOFED CAST IN PLACE CONCRETE SLAB
EL15 PAINTED HOLLOW METAL DOOR, COLOR: T.B.D. SEE SHEET A9.1 FOR MORE INFO.
EL16 GREEN WALL/PUBLIC ART PROJECT
EL17 CUSTOM DECORATIVE STEEL SCREEN PANELS, PAINTED FINISH - COLOR TBD
EL18 ELEVATOR DOORS STAINLESS STEEL ELEVATOR DOORS AND FRAMES
EL19 CAST IN PLACE CONCRETE STAIRS
EL26 GREEN WALL WITH IRRIGATION SYSTEM AND SUBFRAME SYSTEM
EL27 MECH. LOUVER W/ FACTORY APPLIED KYNAR FINISHE, COLOR: T.B.D.SEE A9.3 & MECH. DRAWING FOR MORE INFO.
EL31 OUTDOOR SEATING AREA WITH DECORATIVE METAL RAIL (FINISH: T.B.D.) AND PLANTER.
EL32 SOUTH ALLEY CONTROL GATE WITH PANIC HARDWARE AND CLOSER.
EL34 ACCESS PANEL.
EL35 BACK LIT METAL BUILDING SIGNAGE.
EP02 DECORATIVE ALUMINUM SCREEN WALL WITH FACTORY APPLIED FINISH. COLOR: T.B.D. SEE A9.4 FOR PAN EL SCHEDULE | MISC
EP06 COMBINATION PIPE GUARDRAIL WITH 36" HIGH HANDRAIL. END OF HANDRAIL EXTENSIONRETURN TO GUARD
EP07 GLASS GUARDRAIL
EP09 36" HIGH PIPE HANDRAIL, WALLMOUNTED