## Sheet
QUANTITY TAKE-OFF SHEET
Client: |  | (Hidden for Privacy) | [6 empty] | Website: | www.qtoestimating.com
Project Name: |  | (Hidden for Privacy) | [6 empty] | Email: | info@qtoestimating.com
Project ID: |  | (Hidden for Privacy) | [6 empty] | Contact: | (917) 675-3388
Last Updated: |  | 2020-12-11
COMPLETE ESTIMATE
S# | DWG REF | DETAIL REF | DESCRIPTION | QTY | UNIT | Unit Labor | Unit Material | Total labor | Total Material | Total Unit | Total Cost
DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  | MOBILIZATION | 1 | LS | 10000 | 0 | 10000 | 0 | 10000 | 10000
2 |  |  | SUPERVISION CHARGES | 1 | LS | 7500 | 0 | 7500 | 0 | 7500 | 7500
3 |  |  | SUBMITTALS & SAMPLES | 1 | LS | 8500 | 0 | 8500 | 0 | 8500 | 8500
4 |  |  | TEMPORARY FACILITIES | 1 | LS | 8000 | 0 | 8000 | 0 | 8000 | 8000
5 |  |  | PROJECT SCHEDULING | 1 | LS | 5000 | 0 | 5000 | 0 | 5000 | 5000
6 |  |  | OFFICE OVERHEADS | 1 | LS | 6000 | 0 | 6000 | 0 | 6000 | 6000
7 |  |  | CLOSEOUT PROCEDURES | 1 | LS | 15000 | 0 | 15000 | 0 | 15000 | 15000
|  |  | Subtotal |  |  |  |  | 60000 | 0 |  | 60000
DIVISION 02 - EXISTING SITE CONDITIONS
8 |  |  | Excavation for Trench drain | 8.8 | CF | 10 | 0 | 88 | 0 | 10 | 88
9 |  |  | Concrete for trench drain | 0.32593 | Cy | 150 | 350 | 48.8889 | 114.0741 | 500 | 162.963
10 |  |  | Trench drain To Be 18" Precast Catch Basins W/ Metal Grates | 44 | LF | 7.16 | 140.4 | 315.04 | 6177.6 | 147.56 | 6492.64
11 |  |  | (1'-6"x1'-6") Square Drain Inlets | 4 | EA | 80 | 120 | 320 | 480 | 200 | 800
12 |  |  | PVC Pipe With Drain Inlets | 60 | LF | 4 | 12 | 240 | 720 | 16 | 960
13 |  |  | Excavation For Drain Inlet & Pipe With Backfill | 2.2222 | CY | 50 | 30 |  |  | 80
14 |  |  | Remove Existing Trees | 2 | EA | 50 | 0 | 100 | 0 | 50 | 100
15 |  |  | Existing Concrete Wall To Be Removed | 9.43 | LF | 8 | 0 | 75.44 | 0 | 8 | 75.44
16 |  |  | Remove Existing Shed | 636.08 | SF | 5 | 0 | 3180.4 | 0 | 5 | 3180.4
17 |  |  | Existing Paving To Be Removed | 353.84 | SF | 8 | 0 | 2830.72 | 0 | 8 | 2830.72
18 |  |  | Proposed Concrete Patio | 403.84 | SF | 5 | 9 | 2019.2 | 3634.56 | 14 | 5653.76
19 |  |  | Proposed Paver Driveway W/ - 3" Deep Compacted #2 Limestone Base Layer - 304 Limestone Skim Coat | 4572.1 | SF | 1 | 3 | 4572.1 | 13716.3 | 4 | 18288.4
20 |  |  | 4" Thick Gravel @ Poposed Driveway | 60.8178 | CY | 50 | 30 | 3040.8889 | 1824.5333 | 80 | 4865.4222
21 |  |  | Silt Fence (16" High) | 114.34 | LF | 3 | 15 | 343.02 | 1715.1 | 18 | 2058.12
|  |  | Subtotal |  |  |  |  | 17173.6978 | 28382.1674 |  | 45555.8652
DIVISION 03 - CONCRETE
| 4 |  | Concrete Slab
22 |  |  | 5" thick 4000 PSI concrete slab W/ #4 Steel Rebars @ 24" O.C. Smooth Finish | 2141 | SF | 3.5 | 9 | 7493.5 | 19269 | 12.5 | 26762.5
23 |  |  | 12" concrete slab for stair | 20.32 | SF | 7 | 17 | 142.24 | 345.44 | 24 | 487.68
24 |  |  | 4" Thick Termite Prevented Gravel Below Slab | 26.4244 | CY | 50 | 30 | 1321.2222 | 792.7333 | 80 | 2113.9556
25 |  |  | 2" Rigid Form Insulation Below Slab | 2161 | SF | 1 | 1 | 2161 | 2161 | 2 | 4322
Column Footing
26 |  |  | 42" x 42" 3500 PSI Reinforced concrete footing | 0.44444 | CY | 150 | 350 | 66.6667 | 155.5556 | 500 | 222.2222
27 |  |  | 54"x54" 3500 PSI Reinforced concrete footing | 0.74074 | CY | 150 | 350 | 111.1111 | 259.2593 | 500 | 370.3704
28 |  |  | 48"x48" 3500 PSI Reinforced concrete footing | 1.1852 | CY | 150 | 350 | 177.7778 | 414.8148 | 500 | 592.5926
Concrete Wall Footing
29 |  |  | 10"x24"3500 PSI Reinforced concrete footing | 22.7037 | CY | 150 | 350 | 3405.5556 | 7946.2963 | 500 | 11351.8519
30 |  |  | 42"x24" 3500 PSI Reinforced concrete footing | 2.6667 | CY | 150 | 350 | 400 | 933.3333 | 500 | 1333.3333
31 |  |  | 2" Gravel Base | 3.8967 | CY | 50 | 30 | 194.8333 | 116.9 | 80 | 311.7333
Concrete wall
32 |  |  | 12" thick 3500 PSI Reinforced concrete retaining wall(5'h) | 15.6296 | CY | 150 | 350 | 2344.4444 | 5470.3704 | 500 | 7814.8148
33 |  |  | 1/2"x12" Anchor Bolts @ 32" O.C. | 117.9775 | EA | 0.5 | 0.5 | 58.9888 | 58.9888 | 1 | 117.9775
|  |  | Subtotal |  |  |  |  | 17877.3399 | 37923.6917 |  | 55801.0316
DIVISION 04 - MASONRY
34 | 4 |  | 8" thick CMU wall | 237 | SF | 5.81 | 14 | 1376.97 | 3318 | 19.81 | 4694.97
|  |  | Subtotal |  |  |  |  | 1376.97 | 3318 |  | 4694.97
DIVISION 05 - METAL
35 |  |  | (2EA, 19'-0" Length) Car Lift System | 2 | EA | 800 | 2000 | 1600 | 4000 | 2800 | 5600
Steel Beam
36 |  |  | W8 x 24 steel beam | 53.78 | LF | 4.95 | 32.17 | 266.211 | 1730.1026 | 37.12 | 1996.3136
37 |  |  | W16 x 40 steel beam | 26.81 | LF | 3.41 | 53.3 | 91.4221 | 1428.973 | 56.71 | 1520.3951
38 |  |  | C12 x 20.7 steel beam | 82.08 | LF | 3.5 | 10.35 | 287.28 | 849.528 | 13.85 | 1136.808
Steel Column
39 |  |  | 4" Sched 40(4 1/2"O.D) steel columnw/ steel cap and base plate | 69.6 | EA | 4 | 13 | 278.4 | 904.8 | 17 | 1183.2
40 |  |  | W4x13 Steel column w/ steel base & cap plates | 34.8 | EA | 4.95 | 16.08 | 172.26 | 559.584 | 21.03 | 731.844
Simpson
41 |  |  | Simpson STD10 holdown | 8 | EA | 20 | 30 | 160 | 240 | 50 | 400
42 |  |  | Simpson LSTHD8 | 4 | EA | 20 | 30 | 80 | 120 | 50 | 200
43 |  |  | (2) 2x6 BRG | 364 | LF | 1 | 1.5 | 364 | 546 | 2.5 | 910
44 |  |  | (3) 2x6 BRG | 273 | LF | 1 | 1.5 | 273 | 409.5 | 2.5 | 682.5
45 |  |  | (2) Simpson LSTA37 | 4 | EA | 20 | 30 | 80 | 120 | 50 | 200
|  |  | Subtotal |  |  |  |  | 3652.5731 | 10908.4876 |  | 14561.0607
DIVISION 06 - WOOD, PLASTICS & COMPOSITES
Wood
46 | 2 |  | 2x10 header | 9.5 | LF | 2 | 4.7 | 19 | 44.65 | 6.7 | 63.65
47 |  |  | (2) 1 3/4 x 11 1/4 lvl header | 188.86 | LF | 2 | 4.5 | 377.72 | 849.87 | 6.5 | 1227.59
48 |  |  | (2) 1 3/4 x 11 1/4 lvl header | 61.04 | LF | 2 | 4.5 | 122.08 | 274.68 | 6.5 | 396.76
49 |  |  | 2x8 header | 8.5 | LF | 2 | 4 | 17 | 34 | 6 | 51
50 |  |  | 1 1/4"x11 7/8" LSL Rim board | 96.17 | LF | 2 | 4.5 | 192.34 | 432.765 | 6.5 | 625.105
51 |  |  | (2)1 3/4"x9 1/4" LVL | 118 | LF | 1.5 | 4.2 | 177 | 495.6 | 5.7 | 672.6
52 |  |  | (3)1 3/4"x5 1/2" LVL Stud pack | 32.55 | LF | 1 | 2.25 | 32.55 | 73.2375 | 3.25 | 105.7875
53 |  |  | 1 3/4 x 11 1/4 lvl joist@ 16" O.C | 920.94 | LF | 2 | 4.5 | 1841.88 | 4144.23 | 6.5 | 5986.11
54 |  |  | 11 7/8 wood roof rafters@24"O.C Max | 1233.33 | LF | 2 | 4.5 | 2466.66 | 5549.985 | 6.5 | 8016.645
55 |  |  | 2x12 wood roof rafters@16"O.C Max | 355 | LF | 3 | 5 | 1065 | 1775 | 8 | 2840
56 |  |  | 1 3/4 x 14 lvl valley beam | 46.74 | LF | 2 | 6 | 93.48 | 280.44 | 8 | 373.92
57 |  |  | (1-1/2") Thick Hardwood Treads | 21 | Riser | 25 | 65 | 525 | 1365 | 90 | 1890
58 |  |  | 3'-6" Guard rail | 106 | LF | 4.8 | 25.5 | 508.8 | 2703 | 30.3 | 3211.8
59 |  |  | 2x12 Stringers @ 16" O.C. | 34 | LF | 2.5 | 5 | 85 | 170 | 7.5 | 255
|  |  | Subtotal |  |  |  |  | 7523.51 | 18192.4575 |  | 25715.9675
DIVISION 07 - THERMAL & MOISTURE PROTECION
Roof
60 |  |  | Asphalt shingles | 3600 | SF | 3 | 4 | 10800 | 14400 | 7 | 25200
61 |  |  | Felt paper | 3600 | SF | 0.5 | 0.5 | 1800 | 1800 | 1 | 3600
62 |  |  | (3/4") Plywood Sheathing | 3600 | SF | 1 | 2 | 3600 | 7200 | 3 | 10800
63 |  |  | R-49 Insulation @ Roof | 3600 | SF | 0.4 | 0.8 | 1440 | 2880 | 1.2 | 4320
64 |  |  | 3" round downspout | 11.7 | LF | 2.23 | 10.23 | 26.091 | 119.691 | 12.46 | 145.782
65 |  |  | 4" round downspout | 180.76 | LF | 2.92 | 11.13 | 527.8192 | 2011.8588 | 14.05 | 2539.678
66 |  |  | 6" half round gutter | 216.05 | LF | 3.5 | 16 | 756.175 | 3456.8 | 19.5 | 4212.975
67 |  |  | 2'x4' Skylights | 12 | EA | 128.83 | 581.74 | 1545.96 | 6980.88 | 710.57 | 8526.84
|  |  | Subtotal |  |  |  |  | 20496.0452 | 38849.2298 |  | 59345.275
DIVISION 8 - OPENING
| 3 |  | Door
68 |  |  | 3'-2"x8'-0" Wood door With Schlage Hardware | 1 | EA | 150 | 1000 | 150 | 1000 | 1150 | 1150
69 |  |  | 3'-6"x8'-0" Wood door With Schlage Hardware | 2 | EA | 150 | 1120 | 300 | 2240 | 1270 | 2540
70 |  |  | 3'-6"x6'-8" Wood door With Schlage Hardware | 2 | EA | 150 | 932.4 | 300 | 1864.8 | 1082.4 | 2164.8
71 |  |  | 10'-0"x8'-0" white garage door With Franklin Auto Swing Kits, Two Remotes & Wired Button | 5 | EA | 500 | 3600 | 2500 | 18000 | 4100 | 20500
72 |  |  | 8'-0"x8'-0" white garage door With Franklin Auto Swing Kits, Two Remotes & Wired Button | 1 | EA | 500 | 3000 | 500 | 3000 | 3500 | 3500
Window
73 |  |  | 2'-6"x4'-4" clad wood double hung window | 17 | EA | 100 | 540 | 1700 | 9180 | 640 | 10880
74 |  |  | 2'-6"x4'-4" clad wood fixed window | 4 | EA | 100 | 432 | 400 | 1728 | 532 | 2128
75 |  |  | Painted operable wood shutters w/ hinges/pintels & shutter dogs | 8 | EA | 150 | 55 | 1200 | 440 | 205 | 1640
76 |  |  | 2'-6"x2'-4" clad wood awning window | 3 | EA | 100 | 272 | 300 | 816 | 372 | 1116
|  |  | Subtotal |  |  |  |  | 7350 | 38268.8 |  | 45618.8
DIVISION 9 - FINISHES
Drywall
| 3 |  | 2x4 interior wall
77 |  |  | 2x4" wood studs @ 16" o.c | 645.8647 | LF | 1 | 1.5 | 645.8647 | 968.797 | 2.5 | 1614.6617
78 |  |  | Top and bottom runner | 227 | LF | 1 | 2 | 227 | 454 | 3 | 681
79 |  |  | 1/2" gypsum board on both sides | 1718 | SF | 1 | 1 | 1718 | 1718 | 2 | 3436
80 |  |  | R-19 Fibreglass Batt Insulation | 859 | SF | 1 | 1 | 859 | 859 | 2 | 1718
81 |  |  | Sealent | 554 | LF | 0.3 | 0.8 | 166.2 | 443.2 | 1.1 | 609.4
2x4 interior wall Below Landing
82 |  |  | 2x4" wood studs @ 16" o.c | 30.0752 | LF | 1 | 1.5 | 30.0752 | 45.1128 | 2.5 | 75.188
83 |  |  | Top and bottom runner | 16 | LF | 1 | 2 | 16 | 32 | 3 | 48
84 |  |  | 1/2" gypsum board on both sides | 60 | SF | 1 | 1 | 60 | 60 | 2 | 120
85 |  |  | R-19 Fibreglass Batt Insulation | 30 | SF | 1 | 1 | 30 | 30 | 2 | 60
86 |  |  | Sealent | 16 | LF | 0.3 | 0.8 | 4.8 | 12.8 | 1.1 | 17.6
2x6 interior wall
87 |  |  | 2x6" wood studs @ 16" o.c | 827.8195 | LF | 1 | 2 | 827.8195 | 1655.6391 | 3 | 2483.4586
88 |  |  | Top and bottom runner | 276 | LF | 1 | 2 | 276 | 552 | 3 | 828
89 |  |  | 1/2" gypsum board on both sides | 2206 | SF | 1 | 1 | 2206 | 2206 | 2 | 4412
90 |  |  | R-19 Fibreglass Batt Insulation | 1101 | SF | 1 | 1 | 1101 | 1101 | 2 | 2202
91 |  |  | Sealent | 552 | LF | 0.3 | 0.8 | 165.6 | 441.6 | 1.1 | 607.2
2x6 exterior wall
92 |  |  | Top & Bottom Plates | 798 | LF | 1 | 2 | 798 | 1596 | 3 | 2394
93 |  |  | 2x6 Studs @ 16" O.C. (200 EA) | 1710 | LF | 1 | 2 | 1710 | 3420 | 3 | 5130
94 |  |  | (1/2") Gypsum Board Type X | 226 | SF | 1 | 1 | 226 | 226 | 2 | 452
95 |  |  | R-19 Fiberglass Batt Insulation | 2296 | SF | 1 | 1 | 2296 | 2296 | 2 | 4592
96 |  |  | (15/32") OSB Sheathing | 2296 | SF | 1 | 2 | 2296 | 4592 | 3 | 6888
97 |  |  | (3/4") BC Plywood | 1646 | SF | 1 | 1.5 | 1646 | 2469 | 2.5 | 4115
98 |  |  | Stone Veneer | 425 | SF | 12 | 9 | 5100 | 3825 | 21 | 8925
99 |  |  | Sealant | 122 | LF | 0.4 | 0.1 | 48.8 | 12.2 | 0.5 | 61
2x10 exterior wall
100 |  |  | Top & Bottom Plates | 87.96 | LF | 1 | 3 | 87.96 | 263.88 | 4 | 351.84
101 |  |  | 2x10 Studs @ 16" O.C. (23 EA) | 230 | LF | 1 | 3 | 230 | 690 | 4 | 920
102 |  |  | (15/32") OSB Sheathing | 293 | SF | 1 | 2 | 293 | 586 | 3 | 879
103 |  |  | Fibreglass Batt Insulation | 293 | SF | 1 | 1 | 293 | 293 | 2 | 586
104 |  |  | (3/4") BC Plywood | 615.72 | SF | 1 | 1.2 | 615.72 | 738.864 | 2.2 | 1354.584
105 |  |  | Stone Veneer | 87.96 | SF | 12 | 9 | 1055.52 | 791.64 | 21 | 1847.16
2x4 exterior furred wall
106 |  |  | Top & Bottom Plates | 258 | LF | 1 | 1.5 | 258 | 387 | 2.5 | 645
107 |  |  | 2x4 Studs @ 16" O.C. (65 EA) | 531 | LF | 1 | 1.5 | 531 | 796.5 | 2.5 | 1327.5
108 |  |  | (15/32") OSB Sheathing | 700 | SF | 1 | 2 | 700 | 1400 | 3 | 2100
109 |  |  | Fibreglass Batt Insulation | 700 | SF | 1 | 1 | 700 | 700 | 2 | 1400
Exterior
110 |  |  | Brick veneer | 1263 | SF | 4.19 | 6 | 5291.97 | 7578 | 10.19 | 12869.97
111 |  |  | Stone veneer | 90 | SF | 10.49 | 5.78 | 944.1 | 520.2 | 16.27 | 1464.3
112 |  |  | 4" cast stone sill | 22 | LF | 7.24 | 8.51 | 159.28 | 187.22 | 15.75 | 346.5
113 |  |  | Brick solidier course | 105 | LF | 5.81 | 14 | 610.05 | 1470 | 19.81 | 2080.05
114 |  |  | Stone Veneer @ Retaining Wall | 880 | SF | 7 | 5 | 6160 | 4400 | 12 | 10560
115 |  |  | 8" Fiber Cement Siding | 1004.29 | SF | 1.68 | 1.07 | 1687.2072 | 1074.5903 | 2.75 | 2761.7975
116 |  |  | 1x8 Fascia | 220.64 | LF | 1.39 | 1.7 | 306.6896 | 375.088 | 3.09 | 681.7776
117 |  |  | 1x4 T&G soffits | 130 | LF | 1.11 | 2 | 144.3 | 260 | 3.11 | 404.3
118 |  |  | 18" h Gable vent | 8.29 | SF | 10.69 | 56.7 | 88.6201 | 470.043 | 67.39 | 558.6631
119 |  |  | 5 /4x4 over 5/4 x6 Primed Boral trim | 180.82 | LF | 1.28 | 1.65 | 231.4496 | 298.353 | 2.93 | 529.8026
120 |  |  | Flashing over 5/ 4x8 trim | 32.16 | LF | 3.02 | 15.81 | 97.1232 | 508.4496 | 18.83 | 605.5728
121 |  |  | Flashing over 5 /4x4 over 5/4 x12 trim | 114.57 | LF | 3.02 | 15.81 | 346.0014 | 1811.3517 | 18.83 | 2157.3531
122 |  |  | Metal drip edge over crown 5/4x8 Rakr board | 226.26 | LF | 0.88 | 2.5 | 199.1088 | 565.65 | 3.38 | 764.7588
123 |  |  | 4" Window Primed Boral trim | 103.76 | LF | 1.2 | 1.8 | 124.512 | 186.768 | 3 | 311.28
124 |  |  | 2x PVC sill over trim | 55.34 | LF | 7.24 | 8.51 | 400.6616 | 470.9434 | 15.75 | 871.605
Flooring
125 |  |  | Luxury Vinyl Tile Floor | 3116 | SF | 3 | 7 | 9348 | 21812 | 10 | 31160
126 |  |  | 1/2 plywood subfloor | 1011 | SF | 1 | 2 | 1011 | 2022 | 3 | 3033
127 |  |  | Resilient Tile floor | 968 | SF | 1.64 | 5.79 | 1587.52 | 5604.72 | 7.43 | 7192.24
Base
128 |  |  | Cove Base | 560 | LF | 1 | 2 | 560 | 1120 | 3 | 1680
Ceiling
129 |  |  | Gypsum board ceiling | 3126 | SF | 1 | 1 | 3126 | 3126 | 2 | 6252
130 |  |  | R-49 Insulation @ Ceiling | 3126 | SF | 1 | 1 | 3126 | 3126 | 2 | 6252
Finishes
131 |  |  | Paint on wall | 6310 | SF | 1.2 | 0.8 | 7572 | 5048 | 2 | 12620
132 |  |  | Paint on ceiling | 3126 | SF | 1.5 | 0.8 | 4689 | 2500.8 | 2.3 | 7189.8
133 |  |  | Paint On Handrail | 106 | LF | 1 | 2 | 106 | 212 | 3 | 318
134 |  |  | Paint On Doors | 11 | EA | 80 | 20 | 880 | 220 | 100 | 1100
|  |  | Subtotal |  |  |  |  | 76014.9529 | 100630.4099 |  | 176645.3628
DIVISION 10 - SPECIALITIES
135 | 3 |  | Vanity Cabinet | 3 | LF | 50 | 80 | 150 | 240 | 130 | 390
136 |  |  | Vanity Top | 5.6 | SF | 15 | 25 | 84 | 140 | 40 | 224
137 |  |  | Storage/ Shelving @ Kitchen | 16 | LF | 65 | 105 | 1040 | 1680 | 170 | 2720
138 |  |  | Laminate Countertop | 32 | SF | 8 | 12 | 256 | 384 | 20 | 640
|  |  | Subtotal |  |  |  |  | 1530 | 2444 |  | 3974
DIVISION 11 - EQUIPMENT
139 | 3 |  | Refrigerator | 1 | EA | 125 | 1200 | 125 | 1200 | 1325 | 1325
140 |  |  | Microwave | 1 | EA | 225 | 600 | 225 | 600 | 825 | 825
|  |  | Subtotal |  |  |  |  | 350 | 1800 |  | 2150
DIVISION 22 - PLUMBING
141 | 3 |  | New Piping Allowance | 3400 | SF | 1.5 | 3.5 | 5100 | 11900 | 5 | 17000
142 |  |  | Utility sink With Faucet | 1 | EA | 116 | 1100 | 116 | 1100 | 1216 | 1216
143 |  |  | Bath sink With Faucet | 1 | EA | 116 | 1100 | 116 | 1100 | 1216 | 1216
144 |  |  | Kitchen Sink With Faucet | 1 | EA | 116 | 1100 | 116 | 1100 | 1216 | 1216
145 |  |  | Watercloset | 1 | EA | 145 | 446 | 145 | 446 | 591 | 591
146 |  |  | Shower | 1 | EA | 58 | 157 | 58 | 157 | 215 | 215
147 |  |  | Shower Enclosure | 1 | EA | 100 | 350 | 100 | 350 | 450 | 450
148 |  |  | Hose Bibs | 2 | EA | 50 | 60 | 100 | 120 | 110 | 220
149 |  |  | Spigot | 6 | EA | 50 | 80 | 300 | 480 | 130 | 780
|  |  | Subtotal |  |  |  |  | 6151 | 16753 |  | 22904
DIVISION 23 - HVAC
150 | 3 |  | Furnace | 1 | EA | 210 | 330 | 210 | 330 | 540 | 540
151 |  |  | 40 Gallon Water Heater | 1 | EA | 185 | 1100 | 185 | 1100 | 1285 | 1285
152 |  |  | HVAC Works Allowance | 3400 | SF | 1.5 | 3 | 5100 | 10200 | 4.5 | 15300
|  |  | Subtotal |  |  |  |  | 5495 | 11630 |  | 17125
DIVISION 26 - ELECTRICAL
153 | 3 |  | 6" Ressessed ceiling Light | 24 | EA | 60 | 230 | 1440 | 5520 | 290 | 6960
154 |  |  | 8" Lotus Lights | 12 | EA | 60 | 230 | 720 | 2760 | 290 | 3480
155 |  |  | 8' Fluorescent Light | 2 | EA | 60 | 400 | 120 | 800 | 460 | 920
156 |  |  | Duplex outlet | 2 | EA | 35 | 75 | 70 | 150 | 110 | 220
157 |  |  | Ressessed ceiling fan (96") | 2 | EA | 52 | 500 | 104 | 1000 | 552 | 1104
158 |  |  | Ressessed ceiling fan (60") | 1 | EA | 52 | 400 | 52 | 400 | 452 | 452
159 |  |  | Rework Existing Electrical Panel (200 AMP) | 1 | EA | 200 | 0 | 200 | 0 | 200 | 200
160 |  |  | New Electrical panel (400 AMP) | 1 | EA | 200 | 1400 | 200 | 1400 | 1600 | 1600
161 |  |  | Electrical wiring Allowance | 3400 | SF | 1.2 | 2.8 | 4080 | 9520 | 4 | 13600
|  |  | Subtotal |  |  |  |  | 6986 | 21550 |  | 28536
DIVISION 32 - EARTHWORK
162 | 3 |  | Excavation | 213.2963 | CY | 30 | 0 | 6398.8889 | 0 | 30 | 6398.8889
163 |  |  | Termite Prevented Gravel Backfill | 148 | CY | 50 | 30 | 7400 | 4440 | 80 | 11840
|  |  | Subtotal |  |  |  |  | 13798.8889 |  |  | 18238.8889
|  |  | TOTAL |  |  |  |  | 245775.9777 | 330650.2439 |  | 580866.2216
|  |  | PROFIT | 35% | [6 empty] | 203303.1776
|  |  | BASE BID | [7 empty] | 784169.3992
164 |  |  | Place Porta-Let On Site | 1 | EA | 145 | 446 | 145 | 446 | 591 | 591
165 |  |  | Trench For Electrical Supply From Transformer To New Structure & New Structure To Existing Garage (Excavation, Concrete & Backfill) | 4.4444 | CY | 100 | 300 | 444.4444 | 1333.3333 | 400 | 1777.7778
166 |  |  | Tuff & Dry System On Concrete | 320 | SF | 1.5 | 2 | 480 | 640 | 3.5 | 1120
167 |  |  | 4" Perforated Drain Tile | 315 | LF | 1.5 | 1.5 | 472.5 | 472.5 | 3 | 945
168 |  |  | Covered With Washed Gravel & Filter Fabric | 630 | SF | 2 | 3 | 1260 | 1890 | 5 | 3150
169 |  |  | NDS Dura Slope Channel Drains | 6 | EA | 100 | 130 | 600 | 780 | 230 | 1380
170 |  |  | PVC Pipe | 200 | LF | 4 | 12 | 800 | 2400 | 16 | 3200
171 |  |  | Sch 35 PVC drainpipe and daylighting down the hill behind existing garage building Allowance | 1 | LS | 500 | 2000 | 500 | 2000 | 2500 | 2500
Roof
172 |  |  | Epilay Underlayment | 3600 | SF | 0.5 | 0.5 | 1800 | 1800 | 1 | 3600
173 |  |  | Standing Seam 24-Gauge Metal Roof With Paint Finish | 3600 | SF | 3.8 | 10.5 | 13680 | 37800 | 14.3 | 51480
174 |  |  | Natural Fieldstone Drip Edge | 226.26 | LF | 1 | 3 | 226.26 | 678.78 | 4 | 905.04
HVAC
175 |  |  | Programmable Wifi Thermostats | 3 | EA | 100 | 400 | 300 | 1200 | 500 | 1500
176 |  |  | Rheem Air Handler | 1 | EA | 300 | 2000 | 300 | 2000 | 2300 | 2300
177 |  |  | 3 Zone Heat Pump System (5 Ton Inverter) | 1 | EA | 3000 | 7000 | 3000 | 7000 | 10000 | 10000
Electrical
178 |  |  | Rewire Tesla Charging Station In Garage Allowance | 1 | LS | 300 | 100 | 300 | 100 | 400 | 400
179 |  |  | Panasonic Bath Fan | 1 | EA | 100 | 300 | 100 | 300 | 400 | 400
180 |  |  | LED Flood Lights | 3 | EA | 60 | 320 | 180 | 960 | 380 | 1140
181 |  |  | Exterior Lights | 10 | EA | 60 | 320 | 600 | 3200 | 380 | 3800
182 |  |  | Exterior Outlets | 5 | EA | 60 | 130 | 300 | 650 | 190 | 950
183 |  |  | Switches & Outlets | 25 | EA | 50 | 80 | 1250 | 2000 | 130 | 3250
184 |  |  | Data, Phone & Low Voltage Outlets Allowance | 1 | LS | 400 | 800 | 400 | 800 | 1200 | 1200
Plumbing
185 |  |  | Provide trench for new sewer and water supply between pool house and main house | 3.037 | LF | 50 | 30 | 151.8519 | 91.1111 | 80 | 242.963
186 |  |  | Sewer Pipe | 82 | LF | 8 | 12 | 656 | 984 | 20 | 1640
187 |  |  | Water Supply Pipe | 82 | LF | 6 | 9 | 492 | 738 | 15 | 1230
188 |  |  | Hose Bibs | 2 | EA | 50 | 100 | 100 | 200 | 150 | 300
Railing & Stairs
189 |  |  | Steel Stairs | 21 | Risers | 65 | 425 | 1365 | 8925 | 490 | 10290
Insulation
190 |  |  | Walls & Ceiling Insulations Alternative (Cell Spray Foam Insulation) | 1 | LS | 0 | 0 | 0 | 0 | 0 | 39870
191 |  |  | Finish Grade Allowance | 1 | LS | 3000 | 5000 | 3000 | 5000 | 8000 | 8000
192 |  |  | SOLAR PANELS (NOT INCLUDED IN PROPOSAL) | 52% | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL |  |  |  |  | 32903.0563 | 84388.7244 |  | 157161.7807
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been compiled to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information and quantities as accurate and waive any rights to any claims for errors in information. QTO Estimating does not warranty any of the information contained in this document. The information contained in this document are for informational purposes only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and finalize pricing and materials based on current prices.
Legend: |  |  | Review or input price